## Instructions
Comment Form Instructions
Document: |  | Technical Requirements for Horticultural Lighting V2.1
Version: |  | Draft 1 of Hort V2.1
Comments Due: |  | Close of business, Friday, November 20, 2020
Instructions and Background: |  | Please follow these steps to ensure your comments are received and considered by the DLC: 1. Enter your Organization, Name, Email Address, and Phone Number in Row 8 of this worksheet. 2. There are three (3) new sections included in this release: DC-Powered Fixtures, Exteranlly-Supplied Actively Cooled Horticultural Fixtures, and LED Replacement Lamps. Navigate to the tab at the bottom of this worksheet corresponding to the section of the Hort V2.1 draft on which you'd like to comment. Comments to Hort V2.1 that are not related to a specific section or topic may be added at the "General Comments" tab. 3. After your review of the draft documents, please consider each Key Question in Columns B, C, and D and submit your answer in Column D and potential solutions in Column E. Comments to the Technical Requirements that are not related to a specific Key Question may be added to the remainder of each worksheet. Please enter the line number of the draft corresponding to your comment into Column B starting on Row 16. 4. Save this Excel file with your comments and include your organization name appended to the end of the filename (for example: "DLC_Hort-V2.1Draft1_CommentForm_AcmeLightingCo"). 5. Email the file to comments@designlights.org by close of business, Friday, November 20, 2020.
| Reviewer Organization | Reviewer Name | Reviewer Email Address | Reviewer Phone #

## General Comments
Comment Form - General Comments
Document: |  | Technical Requirements for Horticultural Lighting V2.1
Version: |  | Draft 1 of Hort V2.1
Comments Due: |  | Close of business, Friday, November 20, 2020
Instructions and Background: |  | Please follow these steps to provide General Comments: 1. Enter the topic and/or a short description of your General Comment in Column B. 2. Enter comments in Column C "Comment and Rationale". If applicable, please provide alternate approaches, technical justification, or data to support your comment. Provide your proposed change corresponding to your comment in Column E "Proposed Change".
Comment | Topic/Description | Comment and Rationale | Proposed change / Potential solution to issue(s)
1
2
3
4
5
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40

## DC-Powered Fixtures
Comment Form - Special Considerations for DC-Powered Fixtures
Section: |  | Special Considerations for DC-Powered Fixtures
Version: |  | Draft 1 of Hort V2.1
Comments Due: |  | Close of business, Friday, November 20, 2020
Instructions and Background: |  | Please follow these steps to provide comments: 1. After your review of the draft document, please consider each Key Question in Columns B and C and submit your answer in Column D. If you have a proposed change and/or potential solution, please enter it in column E. 2. Comments to the Technical Requirements that are not related to a specific Key Question may be added at the bottom of the worksheet. Please enter the line number of the draft corresponding to your comment into Column B starting on Row 16. 3. Enter the topic and/or a short description of your General Comment in Column C. 4. Enter comments in Column D "Comment and Rationale". If applicable, please provide alternate approaches, technical justification, or data to support your comment. Provide your proposed change corresponding to your comment in Column E "Proposed Change".
# | Key Questions |  | Answers to Key Questions | Proposed change / Potential solution to issue(s)
1 | Is the proposed method for listing de-rated values for fixtures offered for sale with one or more power sources appropriate? Should any other information (beyond power draw at the worst-case load condition) be displayed on the Hort QPL to assist QPL users? Is the 87.5% conversion efficiency the right assumption?
2 | Is the proposed method for listing de-rated values for fixtures not offered for sale with any power source appropriate?
3 | Is it beneficial to list de-rated AC values for Input Power and PPE, in addition to DC values? Are AC values for a worst-case configuration useful in evaluating proposed Hort lighting systems? Or are system evaluators, such as custom incentive program engineers, more likely to use manufacturer-provided information to calculate power and PPE at the actual load conditions, driver configuration, and input voltage of the system under consideration?
4 | Are the power source performance data required for the table available from power source manufacturers?
5 | If no maximum cabling length is specified at the luminaire level, how could worst-case power losses over cabling be considered during LM-79 testing? If cabling gauge varies to account for longer cabling, should higher gauge, longer cable runs or lower gauge, shorter cables runs be tested?
6 | The proposed requirements would offer no information on power source efficiency below 20% load condition. Is it important to capture power source efficiency below 20% loading, and if so where does this load condition exist in horticultural lighting applications? What minimum loading percentage would reflect this real-world use for AC-de-rated reporting?
Comment | Location in TR (Line or Table & Row numbers) | Topic/Description | Comment and Rationale | Proposed change / Potential solution to issue(s)
1
2
3
4
5
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40

## Actively Coooled Fixtures
Comment Form - Special Considerations for Externally-Supplied Actively Cooled Fixtures
Section: |  | Special Considerations for Externally-Supplied Actively Cooled Fixtures
Version: |  | Draft 1 of Hort V2.1
Comments Due: |  | Close of business, Friday, November 20, 2020
Instructions and Background: |  | Please follow these steps to provide comments: 1. After your review of the draft document, please consider each Key Question in Columns B and C and submit your answer in Column D. If you have a proposed change and/or potential solution, please enter it in column E. 2. Comments to the Technical Requirements that are not related to a specific Key Question may be added at the bottom of the worksheet. Please enter the line number of the draft corresponding to your comment into Column B starting on Row 14. 3. Enter the topic and/or a short description of your General Comment in Column C. 4. Enter comments in Column D "Comment and Rationale". If applicable, please provide alternate approaches, technical justification, or data to support your comment. Provide your proposed change corresponding to your comment in Column E "Proposed Change".
# | Key Questions |  | Answers to Key Questions | Proposed change / Potential solution to issue(s)
1 | The DLC has proposed that externally supplied circulating-liquid horticultural fixtures meet the same efficacy requirements as V2.0 luminaires without considering power consumption of the cooling system. Should the power consumed by the cooling system be considered in evaluation of luminaire PPE? If so, how should it be considered and reported on the QPL?
2 | The DLC has proposed a rated lifetime requirement of 10 years for the cooling system. Is the proposed rated lifetime requirement reasonable?
3 | How does the rated input power for an externally-supplied cooling system differ when considering environment? i.e. Is performance substantially different if located within a greenhouse or set outside a grow facility? Is benchtop testing needing to consider “worst-case” conditions for the cooling system?
4 | What, if any, additional considerations should be made for listing eligibility of externally-supplied circulating-liquid cooled horticultural fixtures?
Comment | Location in TR (Line or Table & Row numbers) | Topic/Description | Comment and Rationale | Proposed change / Potential solution to issue(s)
1
2
3
4
5
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40

## LED Replacement Lamps
Comment Form - Special Considerations for LED Replacement Lamps
Section: |  | Special Considerations for LED Replacement Lamps
Version: |  | Draft 1 of Hort V2.1
Comments Due: |  | Close of business, Friday, November 20, 2020
Instructions and Background: |  | Please follow these steps to provide comments: 1. After your review of the draft document, please consider each Key Question in Columns B and C and submit your answer in Column D. If you have a proposed change and/or potential solution, please enter it in column E. 2. Comments to the Technical Requirements that are not related to a specific Key Question may be added at the bottom of the worksheet. Please enter the line number of the draft corresponding to your comment into Column B starting on Row 14. 3. Enter the topic and/or a short description of your General Comment in Column C. 4. Enter comments in Column D "Comment and Rationale". If applicable, please provide alternate approaches, technical justification, or data to support your comment. Provide your proposed change corresponding to your comment in Column E "Proposed Change".
# | Key Questions |  | Answers to Key Questions | Proposed change / Potential solution to issue(s)
1 | The DLC has proposed that lamps must meet the same efficacy requirements as V2.0 luminaires of 1.9 umol/J. Is the proposed efficacy reasonable? If not, please provide justification (i.e. data) to support this rationale.
2 | The DLC has not proposed requirements for lamps in a fixture housing (i.e. “in-luminaire”), but instead uses distribution requirements for the bare lamp. Is this approach reasonable? If not, please provide justification to support this rationale.
3 | Should there be different distribution requirements for horizontally and vertically mounted Screw-Base Replacements for HID Lamps?
4 | Should the DLC include reporting requirements for mounting criteria, such as lamp orientation? If so, which criteria specifically is critical to report?
Comment | Location in TR (Line or Table & Row numbers) | Topic/Description | Comment and Rationale | Proposed change / Potential solution to issue(s)
1
2
3
4
5
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40