## INTRO
This table provides an overview of the incentives offered by DLC Members for lighting controls. The summaries are intended to help program managers compare offerings, and to inform manufacturers of incentives across DLC Member territories.
Color Codes:
| Canada |  | Midwest | Washington
| Mid Atlantic |  | Northeast | Texas
| Southwest |  | Northwest (excl. WA) | Southeast
N/A- No incentive in specific category at this time. Please contact the company directly for more information
The lighting controls summary tab of this document is updated as of August 25, 2021. Please click on the program names to access the most up-to-date program information.

## LIGHTING CONTROLS SUMMARY
Program Information
DLC Member Name | Region | State or Province | Measure Description | Incentive/unit | Wattage Requirements | Additional Rebate Details
Ameren IL | Midwest | IL | Occupancy Controls | $20/control | watts controlled per sensor (range) 50-124W | Hard-wired, new installations only; replacement sensors are not eligible • Existing (baseline) controls must be manual on-off or no control • Each sensor must control at least 50W (70W for coolers/freezers); over 800W controlled per sensor may apply using the Custom application, if desired • Controls for exterior spaces must include daylighting in addition to occupancy control • Controls for new construction, including substantial renovation affecting two or more building systems, must use the New Construction application • Vacancy controls qualify under this incentive as occupancy controls • Cooler/freezer controls must reduce lighting hours by 30% or more
Ameren IL | Midwest | IL | Occupancy Controls | $40/control | watts controlled per sensor (range) 125W or greater
Ameren IL | Midwest | IL | Occupancy plus Daylight Controls (interior only) | $25/control | watts controlled per sensor (range) 50-124W
Ameren IL | Midwest | IL | Occupancy plus Daylight Controls (interior only) | $50/control | watts controlled per sensor (range) 125W or greater
Ameren IL | Midwest | IL | Coolor/Freezer LED Controls | $12/control | watts controlled per sensor 70W or greater
Ameren IL | Midwest | IL | Networked Lighting Controls (Interior Only) | $0.75/watts controlled |  | Networked Lighting Controls (NLC) Eligibility: • New installations only; not to replace existing networked lighting controls • Interior spaces only; exterior spaces may apply using the Custom application • Total Watts Controlled is the wattage of LED light fixtures connected to the NLC system • System must enable three or more control strategies • System must be listed on the DLC Networked Lighting Controls Qualified Products List: www.designlights.org/lighting-controls/
Ameren IL | Midwest | IL | Networked Lighting Controls (Interior Only) | $0.40/watts controlled
AVISTA Utilities (Idaho) | Northwest (excl.WA) | ID | Fixture with no Occupancy Sensor | $40/sensor
AVISTA Utilities (Idaho) | Northwest (excl.WA) | ID | Fixture with no Control | $150/control
AVISTA Utilities (Washington) | Washington | WA | Fixture with no Occupancy Sensor | $40/sensor
AVISTA Utilities (Washington) | Washington | WA | Fixture with no Control | $150/control
BC Hydro | Canada | BC | Contact utility for more information |  |  | Daylight Harvesting, Occupancy Sensor or Timer, or Daylight Harvesting & Occupancy Sensor or Timer
BGE | Mid - Atlantic | MD | Networked lighting control w/ local or cloud server required | $50/fixture | minumum watts controlled 20W | • The system requires a Local or Cloud Server to operate. • A minimum of two strategies must be implemented, includeing occupancy/vacancy and/or daylight if viable
BGE | Mid - Atlantic | MD | Networked lighting control w/ local or cloud server required – lower wattage fixtures/downlights | $10/fixture |  | The system requires a Local or Cloud Server to operate.
BGE | Mid - Atlantic | MD | Networked lighting control (no server required) | $45/fixture | minumum watts controlled 20W
BGE | Mid - Atlantic | MD | Networked lighting control (no server required) – lower wattage fixtures/downlights | $8/fixture
BGE | Mid - Atlantic | MD | Dual daylight & occupancy sensor (DOS) | $25/fixture | minumum watts controlled 20W | • Control must have the capability to control fixtures based on both occupancy and daylight. • Customers must identify the quantity of fixtures located in a Daylight Zone on the Lighting Fixtures and Controls Worksheet (the same incentive will be paid for fixtures if they are not located in a Daylight Zone). • Control must automatically turn fixtures on and off based on occupancy. • Control must continuously dim fixtures located in a Daylight Zone (see General Control Requirements)
BGE | Mid - Atlantic | MD | Dual daylight & occupancy sensor (DOS) – lower wattage fixtures/downlights | $6/fixture |  | • Control must have the capability to control fixtures based on both occupancy and daylight. • Customers must identify the quantity of fixtures located in a Daylight Zone on the Lighting Fixtures and Controls Worksheet (the same incentive will be paid for fixtures if they are not located in a Daylight Zone). • Control must automatically turn fixtures on and off based on occupancy. • Control must continuously dim fixtures located in a Daylight Zone (see General Control Requirements)
BGE | Mid - Atlantic | MD | Daylight continuous dimming control | $20/fixture | minumum watts controlled 20W | • Control must continuously dim fixtures located in a Daylight Zone (see General Control Requirements) in response to ambient daylight.
BGE | Mid - Atlantic | MD | Daylight continuous dimming control – lower wattage fixtures/ downlights | $4/fixture |  | • Control must continuously dim fixtures located in a Daylight Zone (see General Control Requirements) in response to ambient daylight
BGE | Mid - Atlantic | MD | Vacancy control | $15/fixture |  | • Control must be set to “Manual ON” so fixtures controlled require a person to manually turn them ON. • The control must automatically turn off light fixtures after preset time has elapsed where no occupancy is detected
BGE | Mid - Atlantic | MD | Vacancy control – Lower wattage fixtures/downlights | $4/fixture |  | • Control must be set to “Manual ON” so fixtures controlled require a person to manually turn them ON. • The control must automatically turn off light fixtures after preset time has elapsed where no occupancy is detected
BGE | Mid - Atlantic | MD | Occupancy control | $10/fixture | minumum watts controlled 20W | • Control must automatically turn fixtures on and off based on occupancy.
BGE | Mid - Atlantic | MD | Occupancy control – lower wattage fixtures/downlights | $3/fixture |  | • Control must automatically turn fixtures on and off based on occupancy.
BPA | Northwest (excl.WA) | WA | Occupancy Sensors, timers, and control panels – Contact utility for more information
Cape Light Compact | Northeast | MA | Remote Mounted Occupancy Sensor | $30/control | minimum controlled wattage 40W | Lighting Sensors & Controls – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Daylight Dimming System and/or Occupancy Controlled Dimming System | $15/fixture | minimum controlled wattage 20W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Interior Integral Fixture Mounted Dual Sensor | $20/fixture | minimum controlled wattage 20W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Integral Fixture Mounted Dual Sensors and Network-capable Controls | $30/fixture | minimum controlled wattage 50W | Lighting Sensors & Controls – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Wall Mounted Occupancy Sensor | $20/control | minimum controlled wattage 20W | Lighting Sensors & Controls – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Photocell Sensors (24/7 exterior systems) | $25/control | minimum controlled wattage 50W | Lighting Sensors & Controls – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Outdoor Integral Fixture Mounted Programmable Controller | $50/fixture | minimum controlled wattage 100W | Lighting Sensors & Controls – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Integral Occupancy Sensor for High Bay Fixtures | $25/fixture | minimum controlled wattage 50W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Code Level Controld | Interior: $1.50/Watt Saved Exterior: $1.50/Watt Saved |  | Performance Lighting – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Integral Controls | Interior: $2.00/Watt Saved Exterior: $2.00/Watt Saved |  | Performance Lighting – New Construction/Retrofit
Cape Light Compact | Northeast | MA | Newtwork Controls & M&V | Interior: $3.00/Watt Saved Exterior: $3.00/Watt Saved |  | Performance Lighting – New Construction/Retrofit
Clark Public Utilities | Washington | WA | 40% w/Networked Cont | $60/fixture | watt baseline: ≤100 required wattage reduction: ≥40% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 50% w/Networked Cont | $70/fixture | watt baseline: ≤100 required wattage reduction: ≥50% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 60% w/Networked Cont | $80/fixture | watt baseline: ≤100 required wattage reduction: ≥60% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 70% w/Networked Cont | $90/fixture | watt baseline: ≤100 required wattage reduction: ≥70% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 40% w/Networked Cont | $80/fixture | watt baseline: 101-200 required wattage reduction: ≥40% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 50% w/Networked Cont | 100/fixture | watt baseline: 101-200 required wattage reduction: ≥50% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 60% w/Networked Cont | 120/fixture | watt baseline: 101-200 required wattage reduction: ≥60% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 70% w/Networked Cont | 140/fixture | watt baseline: 101-200 required wattage reduction: ≥70% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 40% w/Networked Cont | 130/fixture | watt baseline: ≥201 required wattage reduction: ≥40% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 50% w/Networked Cont | 160/fixture | watt baseline: ≥201 required wattage reduction: ≥50% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 60% w/Networked Cont | 180/fixture | watt baseline: ≥201 required wattage reduction: ≥60% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 70% w/Networked Cont | $200/fixture | watt baseline: ≥201 required wattage reduction: ≥70% | General Indoor / Outdoor with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 40% w/Networked Cont | $140/fixture | watt baseline: 140-299 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 60% w/Networked Cont | $200/fixture | watt baseline: 140-299 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 70% w/Networked Cont | $260/fixture | watt baseline: 140-299 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 40% w/Networked Cont | $160/fixture | watt baseline: 300-399 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 60% w/Networked Cont | $240/fixture | watt baseline: 300-399 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 70% w/Networked Cont | $360/fixture | watt baseline: 300-399 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 40% w/Networked Cont | $200/fixture | watt baseline: 400-499 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 60% w/Networked Cont | $300/fixture | watt baseline: 400-499 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 70% w/Networked Cont | $420/fixture | watt baseline: 400-499 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 40% w/Networked Cont | $350/fixture | watt baseline: ≥500 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 60% w/Networked Cont | $500/fixture | watt baseline: ≥500 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | 70% w/Networked Cont | $600/fixture | watt baseline: ≥500 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Clark Public Utilities | Washington | WA | Occupancy Sensor | $10/control | wattage range 15-44W
Clark Public Utilities | Washington | WA |  | $30/control | wattage range 45-200W
Clark Public Utilities | Washington | WA |  | $50/control | wattage range ≥201W
Clark Public Utilities | Washington | WA | Mutli Function | $15/control | wattage range 15-44W
Clark Public Utilities | Washington | WA |  | $40/control | wattage range 45-200W
Clark Public Utilities | Washington | WA |  | $50/control | wattage range ≥201W
Clark Public Utilities | Washington | WA | Other | $10/control | wattage range 15-44W
Clark Public Utilities | Washington | WA |  | $30/control | wattage range 45-200W
Clark Public Utilities | Washington | WA |  | $40/control | wattage range ≥201W
ConEd | Northeast | NY | Daylight Dimming, Daylight Stepped, or Occupancy (one-for-one fixture replacement) | $35/sensor |  | • Application: Interior spaces • Eligibility Criteria: Existing switched control only
ConEd | Northeast | NY | Networked Controls (one-for-one fixture replacement) | $50/controlled fixture |  | • Application: Interior spaces • Eligibility Criteria: Existing switched control only
ConEd | Northeast | NY | Networked Controls (LDP) | $0.16/kWh saved |  | • Application: Interior spaces • Eligibility Criteria: Existing switched control only
ConEd | Northeast | NY | Bi-Level Lighting Controls in Stairwell | $85/fixture |  | Existing Conditions: Any wattage
ConEd | Northeast | NY | Bi-Level Lighting Controls in Corridors | $50/fixture |  | Existing Conditions: Any wattage
ConEd | Northeast | NY | Bi-Level Lighting Controls in Parking Garages | $180/fixture |  | Existing Conditions: ≤100W
ConEd | Northeast | NY | Bi-Level Lighting Controls in Parking Garages | $230/fixture |  | Existing Conditions: 101-249W
ConEd | Northeast | NY | Bi-Level Lighting Controls in Parking Garages | $280/fixture |  | Existing Conditions: ≥250W
ConEd | Northeast | NY | Bi-Level Lighting Controls in Parking Lots | $25/fixture |  | Existing Conditions: ≤100W
ConEd | Northeast | NY | Bi-Level Lighting Controls in Parking Lots | $75/fixture |  | Existing Conditions: 101-249W
ConEd | Northeast | NY | Bi-Level Lighting Controls in Parking Lots | $100/fixture |  | Existing Conditions: 250-399W
ConEd | Northeast | NY | Bi-Level Lighting Controls in Parking Lots | $125/fixture |  | Existing Conditions: 400-999W
ConEd | Northeast | NY | Bi-Level Lighting Controls in Parking Lots | $150/fixture |  | Existing Conditions: ≥1000W
Consumers Energy | Midwest | MI | Interior Lighting Occupancy Sensor per Space Controlled – < 150 sq. ft | $12/sensor
Consumers Energy | Midwest | MI | Interior Lighting Occupancy Sensor per Space Controlled – ≥ 150 and ≤ 500 sq. ft. | $35/sensor
Consumers Energy | Midwest | MI | Interior Lighting Occupancy Sensor per Space Controlled – > 500 sq. ft | $85/sensor
Consumers Energy | Midwest | MI | Interior Lighting Occupancy Sensors | $0.08/watt controlled
Consumers Energy | Midwest | MI | Interior Occupancy Sensor & Daylight Sensor Controls | $0.12/watt controlled
Consumers Energy | Midwest | MI | Daylight Sensor Controls | $0.09/watt controlled
Consumers Energy | Midwest | MI | Central Lighting Controls | $0.06/sq ft
Consumers Energy | Midwest | MI | Interior Stairwell Lighting Controls | $0.40/watt controlled
Consumers Energy | Midwest | MI | Exterior Multi-Step Dimming Occupancy Sensors | $0.15/watt controlled
Consumers Energy | Midwest | MI | Exterior Lighting Occupancy Sensors | $0.25/watt controlled
Consumers Energy | Midwest | MI | Exterior Multi-Step Dimming Timer Controls | $0.15/watt controlled
Cowlitz Co | Northwest (excl.WA) | WA | 40% w/Networked Cont | $60/fixture | watt baseline: ≤100 required wattage reduction: ≥40% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 50% w/Networked Cont | $70/fixture | watt baseline: ≤100 required wattage reduction: ≥50% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 60% w/Networked Cont | $80/fixture | watt baseline: ≤100 required wattage reduction: ≥60% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 70% w/Networked Cont | $90/fixture | watt baseline: ≤100 required wattage reduction: ≥70% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 40% w/Networked Cont | $80/fixture | watt baseline: 101-200 required wattage reduction: ≥40% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 50% w/Networked Cont | 100/fixture | watt baseline: 101-200 required wattage reduction: ≥50% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 60% w/Networked Cont | 120/fixture | watt baseline: 101-200 required wattage reduction: ≥60% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 70% w/Networked Cont | 140/fixture | watt baseline: 101-200 required wattage reduction: ≥70% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 40% w/Networked Cont | 130/fixture | watt baseline: ≥201 required wattage reduction: ≥40% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 50% w/Networked Cont | 160/fixture | watt baseline: ≥201 required wattage reduction: ≥50% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 60% w/Networked Cont | 180/fixture | watt baseline: ≥201 required wattage reduction: ≥60% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 70% w/Networked Cont | $200/fixture | watt baseline: ≥201 required wattage reduction: ≥70% | General Indoor / Outdoor with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 40% w/Networked Cont | $140/fixture | watt baseline: 140-299 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 60% w/Networked Cont | $200/fixture | watt baseline: 140-299 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 70% w/Networked Cont | $260/fixture | watt baseline: 140-299 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 40% w/Networked Cont | $160/fixture | watt baseline: 300-399 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 60% w/Networked Cont | $240/fixture | watt baseline: 300-399 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 70% w/Networked Cont | $360/fixture | watt baseline: 300-399 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 40% w/Networked Cont | $200/fixture | watt baseline: 400-499 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 60% w/Networked Cont | $300/fixture | watt baseline: 400-499 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 70% w/Networked Cont | $420/fixture | watt baseline: 400-499 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 40% w/Networked Cont | $350/fixture | watt baseline: ≥500 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 60% w/Networked Cont | $500/fixture | watt baseline: ≥500 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | 70% w/Networked Cont | $600/fixture | watt baseline: ≥500 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Cowlitz Co | Northwest (excl.WA) | WA | Occupancy Sensor | $10/control | wattage range 15-44W
Cowlitz Co | Northwest (excl.WA) | WA |  | $30/control | wattage Range 45-200W
Cowlitz Co | Northwest (excl.WA) | WA |  | $50/control | wattage range ≥201W
Cowlitz Co | Northwest (excl.WA) | WA | Mutli Function | $15/control | wattage range 15-44W
Cowlitz Co | Northwest (excl.WA) | WA |  | $40/control | wattage range 45-200W
Cowlitz Co | Northwest (excl.WA) | WA |  | $50/control | wattage range ≥201W
Cowlitz Co | Northwest (excl.WA) | WA | Other | $10/control | wattage range 15-44W
Cowlitz Co | Northwest (excl.WA) | WA |  | $30/control | wattage range 45-200W
Cowlitz Co | Northwest (excl.WA) | WA |  | $40/control | wattage range ≥201W
DCSEU | Mid - Atlantic | DC | Wall-Mounted Occupancy Sensor | 15 | minimum watts controlled 50W
DCSEU | Mid - Atlantic | DC | Fixture-Mounted Occupancy Sensor | 10 | minimum watts controlled 30W
DCSEU | Mid - Atlantic | DC | Remote-Mounted Occupancy Sensor | 15 | minimum watts controlled 150W
DCSEU | Mid - Atlantic | DC | Fixture-Mounted Daylight Sensor | 10 | minimum watts controlled 30W
DCSEU | Mid - Atlantic | DC | Remote-Mounted Daylight Sensor | 20 | minimum watts controlled 150W
DCSEU | Mid - Atlantic | DC | Integrated Occupancy Sensor for LED Fixtures | 10 | minimum watts controlled 20W
DCSEU | Mid - Atlantic | DC | Integrated Occupancy and Daylight Sensor for LED Fixtures | 15 | minimum watts controlled 20W
DTE | Midwest | MI | Interior occupancy sensors | Sensor
DTE | Midwest | MI | Interior central lighting control | 10,000 sq ft
DTE | Midwest | MI | Interior switching controls for multilevel lighting | 10,000 sq ft
DTE | Midwest | MI | Interior daylight sensors controls | Watt controlled
DTE | Midwest | MI | Interior combined occupancy and daylight sensors | Sensor
DTE | Midwest | MI | Interior stairwell lighting controls | Kilowatt controlled
DTE | Midwest | MI | Exterior lighting, bi-level control with override | Fixture
DTE | Midwest | MI | Exterior dimming timer controls | Watt controlled
DTE | Midwest | MI | Exterior LED lighting bi-level controls | Fixture
DTE | Midwest | MI | Garage LED lighting bi-level controls | Fixture
DTE | Midwest | MI | Garage LED b-level controls w/ photocell | Fixture
DTE | Midwest | MI | Tubular skylights (light tubes) | Tube
DTE | Midwest | MI | DLC-listed interior LED lighting 1-shift operation | Kilowatts reduced |  | Hours/week: 1-65. Reservation required
DTE | Midwest | MI | DLC-listed interior LED lighting 2-shift operation | Kilowatts reduced |  | Hours/week: 66-115. Reservation required
DTE | Midwest | MI | DLC-listed interior LED lighting 3-shift operation | Kilowatts reduced |  | Hours/week: 116-167. Reservation required
DTE | Midwest | MI | DLC-listed NLC system (tier 2 only) | 10,000 sq ft
Duke Energy - Carolinas | Southeast | NC | Custom | kWh+kW
Duke Energy - IN | Midwest | IN | Custom | kWh+kW
Duke Energy - Kentucky | Southeast | KY | Custom | kWh+kW
Duke Energy - OH | Midwest | OH | Custom | kWh+kW
Duke Energy - Progress | Southeast | NC | Custom | kWh+kW
Efficiency Nova Scotia | Canada | NS | Occupancy Sensor - WallSwitch or Fixture Mounted | 20 |  | • In-store • For use with LED or fluorescent systems • The use of a program start ballast is recommended for fluorescent systems • Excludes ENERGY STAR® certified or DLC approved fixtures with integrated occupancy sensors
Efficiency Nova Scotia | Canada | NS | Occupancy Sensor - Ceiling or Wall Remote Mounted | 40
Efficiency Nova Scotia | Canada | NS | Occupancy Sensor - Exterior | 10 |  | • In-store • Fixture must automatically shut off during the day by using a timer, photo-sensor or similar technology • For use with LED or fluorescent systems • The use of a program start ballast is recommended for fluorescent systems
Efficiency Nova Scotia | Canada | NS | Daylighting Controls - WallSwitch or Fixture Mounted | 10 |  | • Mail-in • System commissioning is strongly recommended to ensure maximum energy savings • For indoor use only
Efficiency Nova Scotia | Canada | NS | Daylighting Controls - Ceiling or Wall Remote Mounted | 30
Efficiency PEI | Canada | PE | Occupancy sensor - wall-switch or fixture mounted | 25 |  | For use with LED or fluorescent systems. The use of a program start ballast is recommended for fluorescent systems
Efficiency PEI | Canada | PE | Occupancy sensor - ceiling or wall remote mounted | 60 |  | For use with LED or fluorescent systems. The use of a program start ballast is recommended for fluorescent systems
Efficiency PEI | Canada | PE | Occupancy sensor - exterior | 10 |  | Fixture must automatically shut off during the day by using a timer, photo-sensor or similar technology. For use with LED or fluorescent systems. The use of a program start ballast is recommended for fluorescent systems
Efficiency Vermont | Northeast | VT | Intrgrated Sensor | $40/sensor |  | DLC LED Interior Fixtures with Integrated Sensors: • Can include occupancy or daylight integrated sensors, or dual occupancy / daylight integrated sensors. • Commissioning is recommended for daylight & integrated controls. • Fixture that sensor is embedded into must be eligible for Efficiency Vermont fixture rebate, and fixture must be qualified by DLC as having integral controls (search Qualified Product List for fixture and click "details" on search results to verify integrated controls) • Non-integrated sensors are not eligible for this instant discount. Rebates are available for non-integrated sensors, including fixture-mounted, ceiling & wall remote-mounted, and switch-mounted sensors. DLC LED Exterior Fixtures or Exterior Retrofit Kits with Integrated Occupancy Sensor: • Fixture or retrofit kit that sensor is embedded into must be eligible for Efficiency Vermont rebate, and fixture must be qualified by DLC as having integral controls (search Qualified Product List for fixture and click "details" on search results to verify integrated controls) • Lights must be turned off or reduced by at least 50% during unoccupied times. • Ineligible: photocells, timers, dusk-to-dawn sensors, daylight sensors, non-integrated sensors.
Efficiency Vermont | Northeast | VT | Integrated Sensors for Interior Retrofit Kits | $15/sensor | minumum watts controlled 20W
Efficiency Vermont | Northeast | VT | Refrigerator & Freezer Case Light Sensors | 30/sensor |  | • For use on retrofits of interior LED equipment. • Minimum of 3 doors per sensor. • Fixtures with integrated sensors may be eligible for both fixture and sensor rebates.
Efficiency Vermont | Northeast | VT | Sensors - Ceiling & Wall Remote Mounted | 40/sensor | minumum watts controlled 150W | • For use on interior LED or fluorescent equipment. • Can be hard-wired or wireless. • Can include occupancy or daylight sensors. • Companion switches for wireless sensors are not eligible for rebates. • Commissioning is recommended for daylight controls.
Efficiency Vermont | Northeast | VT | Sensors - Fixture Mounted | 30 | minumum watts controlled 30W | • For use on interior LED or fluorescent equipment. • Can include occupancy or daylight sensors, or dual occupancy/daylight sensors. • Companion switches for wireless sensors are not eligible for rebates. • Commissioning is recommended for daylight controls.
Efficiency Vermont | Northeast | VT | Sensors - Non-Integrated Exterior Occupancy | 30 | minumum watts controlled 45W | • For use on exterior LED or induction equipment. • Lights must be turned off or reduced by at least 50% during unoccupied times. • Ineligible: photocells, timers, dusk-to-dawn sensors, daylight sensors, integrated exterior occupancy sensors. See page for integrated sensors to learn more about rebates available for integrated exterior occupancy sensors.
Electricities of NC | Southeast | NC | Contact utility for more infromation
Energy Trust of Oregon (ETO) | Northwest (excl.WA) | OR | Lighting Controls | $19.50-$60 per sensor, up to 100% of eligible measure cost |  | Interior vacancy or occupancy/exterior occupancy. Control loads vary.
Energy Trust of Oregon (ETO) | Northwest (excl.WA) | OR | LED cooler/freezer display case lighting (includes motion sensors & LEDs) | $1.60-$16 per linear foot, up to 40% of eligible measure cost |  | LED fixtures must be listed as case lighting on DLC product list
Energy Trust of Oregon (ETO) | Northwest (excl.WA) | OR | Custom lighting controls | $0.20 per annual kWh saved, up to 40% of eligible measure cost |  | To be eligible, each custom lighting controls measure must be reviewed and pre-qualified by Energy Trust. Contact an Energy Trust Business Lighting trade ally to get started.
Eversource CT | Northeast | CT | Ceiling Mounted Occupancy Sensors | 20 | minimum watts controlled 100W | Ceiling mounted control with no manual “ON” overrides. Comply with manufacturer’s coverage recommendations and all applicable codes.
Eversource CT | Northeast | CT | Wall Mounted Occupancy Sensors | 20 | minimum watts controlled 50W | • Occupancy Sensors must operate as Automatic ON and OFF. • Sensors are wall-mounted devices only. Comply with manufacturer’s coverage recommendations and all applicable codes.
Eversource CT | Northeast | CT | Wall Mounted Vacancy Occupancy Sensors | 20 | minimum watts controlled 50W | • Vacancy Sensors must operate as Manual ON, Automatic OFF. • Sensors are wall-mounted devices only. Comply with manufacturer’s coverage recommendations and all applicable codes.
Eversource CT | Northeast | CT | 2x4 Fixture Standard w/Controls | 60
Eversource CT | Northeast | CT | 2x4 Fixture Premium w/Controls | 70
Eversource CT | Northeast | CT | 2x2 Fixture Standard w/Controls | 50
Eversource CT | Northeast | CT | 2x2 Fixture Premium w/Controls | 55
Eversource CT | Northeast | CT | 1x4 Fixture Standard w/Controls | 55
Eversource CT | Northeast | CT | 1x4 Fixture Premium w/Controls | 60
Eversource MA | Northeast | MA | Remote Mounted Occupancy Sensor | $30/control | minimum controlled wattage 40W | Lighting Sensors & Controls – New Construction/Retrofit
Eversource MA | Northeast | MA | Daylight Dimming System and/or Occupancy Controlled Dimming System | $15/fixture | minimum controlled wattage 20W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
Eversource MA | Northeast | MA | Interior Integral Fixture Mounted Dual Sensor | $20/fixture | minimum controlled wattage 20W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
Eversource MA | Northeast | MA | Integral Fixture Mounted Dual Sensors and Network-capable Controls | $30/fixture | minimum controlled wattage 50W | Lighting Sensors & Controls – New Construction/Retrofit
Eversource MA | Northeast | MA | Wall Mounted Occupancy Sensor | $20/control | minimum controlled wattage 20W | Lighting Sensors & Controls – New Construction/Retrofit
Eversource MA | Northeast | MA | Photocell Sensors (24/7 exterior systems) | $25/control | minimum controlled wattage 50W | Lighting Sensors & Controls – New Construction/Retrofit
Eversource MA | Northeast | MA | Outdoor Integral Fixture Mounted Programmable Controller | $50/fixture | minimum controlled wattage 100W | Lighting Sensors & Controls – New Construction/Retrofit
Eversource MA | Northeast | MA | Integral Occupancy Sensor for High Bay Fixtures | $25/fixture | minimum controlled wattage 50W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
Eversource MA | Northeast | MA | Code level Controls | Interior: $1.50/Watt Saved Exterior: $1.50/Watt Saved |  | Performance Lighting – New Construction/Retrofit
Eversource MA | Northeast | MA | Integral Controls | Interior: $2.00/Watt Saved Exterior: $2.00/Watt Saved |  | Performance Lighting – New Construction/Retrofit
Eversource MA | Northeast | MA | Network Controls & M&V | Interior: $3.00/Watt Saved Exterior: $3.00/Watt Saved |  | Performance Lighting – New Construction/Retrofit
Eversource NH | Northeast | NH | Remote Mounted Occupancy Sensor | $50/control | minimum controlled wattage 90W (total) | Comply with manufacturer’s coverage recommendations. No manual “ON” overrides.
Eversource NH | Northeast | NH | Wall mounted Occupancy/Vacancy Sensors | $20/control | minimum controlled wattage 45W (total) | • Occupancy Sensors must operate as Automatic On, and Automatic Off or Manual On and Off. • Sensors are wall mounted devices only. • Not recommended in multi stall restrooms, locker rooms, stairwells or rooms of greater than 250 square feet
Eversource NH | Northeast | NH | Daylight Dimming System and/or Occupancy Controlled Step-Dimming System | $20/fixture | minimum controlled wattage 45W (per fixture) | Daylight: • Must have continuous dimming or adjust to a minimum of 4 levels. • Typical lamping is either a 28 or 32 watt T8 lamps. Step-Dimming: • Ballast must be automatically controlled based on occupancy. • Power consumption in low mode must not exceed 60%.
Eversource NH | Northeast | NH | Integral High Bay Fixture Occupancy Control Systems | $20/fixture | minimum controlled wattage 45W (per fixture) | • Fluorescent Ballast or LED Drivers must be automatically controlled based on occupancy. • Systems with manual “ON” or override switches are not eligible. • Occupancy sensors are integral (built into) or permanently attached to each fixture.
Eversource NH | Northeast | NH | Photocell Sensors | $20/control | minimum controlled wattage 30W (total) | Photocell sensor for exterior lighting systems, or lighting circuit, that would otherwise operate on 24 operate on 24 hours a day, 7 days a week (8,760 hours annually)
EWEB | Northwest (excl.WA) | OR | 40% w/Networked Cont | $60/fixture | watt baseline: ≤100 required wattage reduction: ≥40% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 50% w/Networked Cont | $70/fixture | watt baseline: ≤100 required wattage reduction: ≥50% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 60% w/Networked Cont | $80/fixture | watt baseline: ≤100 required wattage reduction: ≥60% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 70% w/Networked Cont | $90/fixture | watt baseline: ≤100 required wattage reduction: ≥70% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 40% w/Networked Cont | $80/fixture | watt baseline: 101-200 required wattage reduction: ≥40% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 50% w/Networked Cont | $100/fixture | watt baseline: 101-200 required wattage reduction: ≥50% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 60% w/Networked Cont | $120/fixture | watt baseline: 101-200 required wattage reduction: ≥60% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 70% w/Networked Cont | $140/fixture | watt baseline: 101-200 required wattage reduction: ≥70% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 40% w/Networked Cont | $130/fixture | watt baseline: ≥201 required wattage reduction: ≥40% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 50% w/Networked Cont | $160/fixture | watt baseline: ≥201 required wattage reduction: ≥50% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 60% w/Networked Cont | $180/fixture | watt baseline: ≥201 required wattage reduction: ≥60% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 70% w/Networked Cont | $200/fixture | watt baseline: ≥201 required wattage reduction: ≥70% | LED General Indoor / Outdoor with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 40% w/Networked Cont | $140/fixture | watt baseline: 140-299 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 60% w/Networked Cont | $200/fixture | watt baseline: 140-299 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 70% w/Networked Cont | $260/fixture | watt baseline: 140-299 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 40% w/Networked Cont | $160/fixture | watt baseline: 300-399 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 60% w/Networked Cont | $240/fixture | watt baseline: 300-399 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 70% w/Networked Cont | $360/fixture | watt baseline: 300-399 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 40% w/Networked Cont | $200/fixture | watt baseline: 400-499 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 60% w/Networked Cont | $300/fixture | watt baseline: 400-499 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 70% w/Networked Cont | $420/fixture | watt baseline: 400-499 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 40% w/Networked Cont | $350/fixture | watt baseline: ≥500 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 60% w/Networked Cont | $500/fixture | watt baseline: ≥500 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | 70% w/Networked Cont | $600/fixture | watt baseline: ≥500 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
EWEB | Northwest (excl.WA) | OR | Occupancy Sensor | $10/control | wattage range 15-44W
EWEB | Northwest (excl.WA) | OR |  | $30/control | wattage range 45-200W
EWEB | Northwest (excl.WA) | OR |  | $50/control | wattage range ≥201W
EWEB | Northwest (excl.WA) | OR | Mutli Function | $15/control | wattage range 15-44W
EWEB | Northwest (excl.WA) | OR |  | $40/control | wattage range 45-200W
EWEB | Northwest (excl.WA) | OR |  | $50/control | wattage range ≥201W
EWEB | Northwest (excl.WA) | OR | Other | $10/control | wattage range 15-44W
EWEB | Northwest (excl.WA) | OR |  | $30/control | wattage range 45-200W
EWEB | Northwest (excl.WA) | OR |  | $40/control | wattage range ≥201W
First Energy Ohio | Midwest | OH | Contact utility for more information
Fortis BC | Canada | BC | Occupancy Sensor Ceiling or wall-mounted | $25/control |  | • switches with a manual "on” switch override are not eligible • sensors must be commercial grade • principle of operation shall be passive infrared, ultrasonic or a combination only
Fortis BC | Canada | BC | Occupancy Sensor Switch-plate or fixture-mounted | $25/control
Fortis BC | Canada | BC | Photocell sensor | $10/control |  | sensor must be integral to the fixture
Georgia Power | Southeast | GA | Lighting Occupancy Sensor (Wall or Fixture Mounted) | $7/control | 175W minimum watts controlled | Installation of a new occupancy control in place of a manual wall switch: • Hardwired wall switch occupancy control; passive infrared, ultrasonic or dual technology • Sensors required by energy code are not eligible • Space must have 1,000 hours of occupancy • Fixture mounted sensors may be furnished as new equipment by fixture manufacturer or installed on existing fixture(s) as a retrofit measure • Residential grade controls or those with manual on override capability are not eligible • Sensors controlling less than 175 watts will be prorated on a per project basis
Georgia Power | Southeast | GA | Daylight Sensor | $25/control | 150W minimum watts controlled | Installation of a new occupancy control in place of a manual wall switch: • Hardwired, wireless ceiling- or wall-mounted daylight sensor, which is designed to dim or switch fixtures based on ambient light levels • Sensors required by energy code are not eligible • Space must have 1,000 hours of occupancy • Parking deck fixtures are eligible • Sensors controlling less than 175 watts will be prorated on a per project basis
Hawaii Energy | Southwest | HI | Custom Projects with equipment life ≤ 5 years | $0.08 per kWh saved + $125 per kW saved between 5 to 9pm |  | Custom incentives are based on projected energy savings for new construction or retrofit projects. Projects are evaluated on a case-by-case basis and must be pre-approved by Hawai‘i Energy before equipment purchase. Lighting projects must have a payback > 6 months.
Hawaii Energy | Southwest | HI | Custom Projects with equipment life > 5 years | $0.12 per kWh saved + $125 per kW saved between 5 to 9pm
Hydro Quebec | Canada | QC | Contact utility for more information
Idaho Power (ID) | Northwest (excl.WA) | ID | LED Level 1 Retrofit Kit with Single Control Strategy | Interior: $0.14/kWh saved Exterior: $0.12/kWh saved |  | Existing using > input watts than proposed
Idaho Power (ID) | Northwest (excl.WA) | ID | LED Level 1 Retrofit Kit with Multiple Control Strategies | Interior: $0.16/kWh saved Exterior: $0.14/kWh saved |  | Existing using > input watts than proposed
Idaho Power (ID) | Northwest (excl.WA) | ID | LED Level 1 Retrofit Kit with Networked Lighting Controls | Interior: $0.18/kWh saved Exterior: $0.16/kWh saved |  | Existing using > input watts than proposed
Idaho Power (ID) | Northwest (excl.WA) | ID | New LED Fixture or LED Level 2 Retrofit Kit with Single Control Strategy | Interior: $0.21/kWh saved Exterior: $0.16/kWh saved |  | Existing using > input watts than proposed
Idaho Power (ID) | Northwest (excl.WA) | ID | New LED Fixture or LED Level 2 Retrofit Kit with Multiple Control Strategies | Interior: $0.24/kWh saved Exterior: $0.18/kWh saved |  | Existing using > input watts than proposed
Idaho Power (ID) | Northwest (excl.WA) | ID | New LED Fixture or LED Level 2 Retrofit Kit with Networked Lighting Controls | Interior: $0.26/kWh saved Exterior: $0.20/kWh saved |  | Existing using > input watts than proposed
Idaho Power (ID) | Northwest (excl.WA) | ID | Wall switch occupancy sensor | Interior: $15 Exterior: N/A |  | Manual or no prior control >= 17 input watts
Idaho Power (ID) | Northwest (excl.WA) | ID | Ceiling mount occupancy sensor | Interior: $30 Exterior: N/A |  | Manual or no prior control >= 17 input watts
Idaho Power (ID) | Northwest (excl.WA) | ID | Fixture mount occupancy sensor | Interior: $25 Exterior: $15 |  | • Manual or no prior control >= 17 input watts • >=75 input watts required for exterior incentive
Idaho Power (ID) | Northwest (excl.WA) | ID | Interior photocell control (dimming or on/off switching) | Interior: $25 Exterior: N/A |  | Manual or no prior control
Idaho Power (ID) | Northwest (excl.WA) | ID | LED - Multiple Control Strategies | Interior: $35 Exterior: $25 |  | • Manual or no prior control • >=75 input watts required for exterior incentive
Idaho Power (OR) | Northwest (excl.WA) | OR | LED Level 1 Retrofit Kit with Single Control Strategy | Interior: $0.14/kWh saved Exterior: $0.12/kWh saved |  | Existing using > input watts than proposed
Idaho Power (OR) | Northwest (excl.WA) | OR | LED Level 1 Retrofit Kit with Multiple Control Strategies | Interior: $0.16/kWh saved Exterior: $0.14/kWh saved |  | Existing using > input watts than proposed
Idaho Power (OR) | Northwest (excl.WA) | OR | LED Level 1 Retrofit Kit with Networked Lighting Controls | Interior: $0.18/kWh saved Exterior: $0.16/kWh saved |  | Existing using > input watts than proposed
Idaho Power (OR) | Northwest (excl.WA) | OR | New LED Fixture or LED Level 2 Retrofit Kit with Single Control Strategy | Interior: $0.21/kWh saved Exterior: $0.16/kWh saved |  | Existing using > input watts than proposed
Idaho Power (OR) | Northwest (excl.WA) | OR | New LED Fixture or LED Level 2 Retrofit Kit with Multiple Control Strategies | Interior: $0.24/kWh saved Exterior: $0.18/kWh saved |  | Existing using > input watts than proposed
Idaho Power (OR) | Northwest (excl.WA) | OR | New LED Fixture or LED Level 2 Retrofit Kit with Networked Lighting Controls | Interior: $0.26/kWh saved Exterior: $0.20/kWh saved |  | Existing using > input watts than proposed
Idaho Power (OR) | Northwest (excl.WA) | OR | Wall switch occupancy sensor | Interior: $15 Exterior: N/A |  | Manual or no prior control >= 17 input watts
Idaho Power (OR) | Northwest (excl.WA) | OR | Ceiling mount occupancy sensor | Interior: $30 Exterior: N/A |  | Manual or no prior control >= 17 input watts
Idaho Power (OR) | Northwest (excl.WA) | OR | Fixture mount occupancy sensor | Interior: $25 Exterior: $15 |  | • Manual or no prior control >= 17 input watts • >=75 input watts required for exterior incentive
Idaho Power (OR) | Northwest (excl.WA) | OR | Interior photocell control (dimming or on/off switching) | Interior: $25 Exterior: N/A |  | Manual or no prior control
Idaho Power (OR) | Northwest (excl.WA) | OR | LED - Multiple Control Strategies | Interior: $35 Exterior: $25 |  | • Manual or no prior control • >=75 input watts required for exterior incentive
IESO | Canada | ON | Wall switch occupancy sensor | $15/unit |  | • This measure is for the installation of a wall switch occupancy sensor in place of an "ON/OFF" switch. Dimming sensors are eligible. • Wall switch occupancy sensro must be commercial grade.
IESO | Canada | ON | Wall/Ceiling Mounted Occupancy Sensor | $30/unit |  | • This measure is for the installation of a wall/ceiling mounted occupancy sensor. Dimming sensors are eligible. • Occupancy sensor must be commercial grade.
IESO | Canada | ON | Fixture Mounted Occupancy Sensor (High Bay) for fixtures ≥100W | $15/unit |  | • This measure is for the installation of a fixture mounted/integrated occupancy sensor. Dimming sensors are eligible. • Occupancy sensor must be commercial grade.
IESO | Canada | ON | Fixture Mounted Occupancy Sensor (High Bay) for fixtures ≤100W | $8/unit
Liberty Utilities | Northeast | NH | Remote Mounted Occupancy Sensor | $50/control | minimum controlled wattage 90W (total) | Comply with manufacturer’s coverage recommendations. No manual “ON” overrides.
Liberty Utilities | Northeast | NH | Wall mounted Occupancy/Vacancy Sensors | $20/control | minimum controlled wattage 45W (total) | • Occupancy Sensors must operate as Automatic On, and Automatic Off or Manual On and Off. • Sensors are wall mounted devices only. • Not recommended in multi stall restrooms, locker rooms, stairwells or rooms of greater than 250 square feet
Liberty Utilities | Northeast | NH | Daylight Dimming System and/or Occupancy Controlled Step-Dimming System | $20/fixture | minimum controlled wattage 45W (per fixture) | • Daylight: Must have continuous dimming or adjust to a minimum of 4 levels. Typical lamping is either a 28 or 32 watt T8 lamps. • Step-Dimming: Ballast must be automatically controlled based on occupancy. • Power consumption in low mode must not exceed 60%.
Liberty Utilities | Northeast | NH | Integral High Bay Fixture Occupancy Control Systems | $20/fixture | minimum controlled wattage 45W (per fixture) | • Fluorescent Ballast or LED Drivers must be automatically controlled based on occupancy. • Systems with manual “ON” or override switches are not eligible. • Occupancy sensors are integral (built into) or permanently attached to each fixture.
Liberty Utilities | Northeast | NH | Photocell Sensors | $20/control | minimum controlled wattage 30W (total) | Photocell sensor for exterior lighting systems, or lighting circuit, that would otherwise operate on 24 operate on 24 hours a day, 7 days a week (8,760 hours annually)
MidAmerican (Iowa) | Midwest | IA | Contact utility for more information
MidAmerican (lllinois) | Midwest | IL | Contact utility for more information
Missouri River Energy Services | Midwest | MN | Occupancy Sensors | $0.06 Per Watt Controlled |  | Occupancy sensors installed to control single fixtures or groups of fixtures.
Missouri River Energy Services | Midwest | MN | Daylighting Sensors | $0.07 Per Watt Controlled |  | Daylighting controlled fixtures.
Missouri River Energy Services | Midwest | MN | Combined Occupancy and Daylighting Sensors | $0.10 Per Watt Controlled |  | Fixtures controlled by both occupancy and daylighting sensors.
Missouri River Energy Services | Midwest | MN | DLC Networked Lighting Controls | $0.12 Per Watt Controlled |  | Systems must be listed on the DLC Networked Lighting Controls Qualified Products List in order to qualify. See www.designlights.org for details. May not be combined with other “standalone” sensor rebates. High End Trim is required at 80% or lower. Daylighting control must be deployed where side and top lighting is available as defined in IECC 2015. Occupancy sensing controls must be configured in occupancy or vacancy mode with 20 minutes timeout or less. System must be commissioned to comply with the above requirements. Spec sheets for connected LED fixtures must be provide
National Grid - Massachusetts | Northeast | MA | Remote Mounted Occupancy Sensor | $30/control | minimum controlled wattage 40W | Lighting Sensors & Controls – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Daylight Dimming System and/or Occupancy Controlled Dimming System | $15/fixture | minimum controlled wattage 20W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Interior Integral Fixture Mounted Dual Sensor | $20/fixture | minimum controlled wattage 20W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Integral Fixture Mounted Dual Sensors and Network-capable Controls | $30/fixture | minimum controlled wattage 50W | Lighting Sensors & Controls – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Wall Mounted Occupancy Sensor | $20/control | minimum controlled wattage 20W | Lighting Sensors & Controls – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Photocell Sensors (24/7 exterior systems) | $25/control | minimum controlled wattage 50W | Lighting Sensors & Controls – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Outdoor Integral Fixture Mounted Programmable Controller | $50/fixture | minimum controlled wattage 100W | Lighting Sensors & Controls – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Integral Occupancy Sensor for High Bay Fixtures | $25/fixture | minimum controlled wattage 50W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Code level Controls | Interior: $1.50/Watt Saved Exterior: $1.50/Watt Saved |  | Performance Lighting – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Integral Controls | Interior: $2.00/Watt Saved Exterior: $2.00/Watt Saved |  | Performance Lighting – New Construction/Retrofit
National Grid - Massachusetts | Northeast | MA | Network Controls & M&V | Interior: $3.00/Watt Saved Exterior: $3.00/Watt Saved |  | Performance Lighting – New Construction/Retrofit
National Grid - Rhode Island | Northeast | RI | Remote Mounted Occupancy Sensor | $30/sensor | minimum controlled wattage 40W | Comply with manufacturer's coverage recommendations. Ceiling mounted control. No manual ON overrides permitted.
National Grid - Rhode Island | Northeast | RI | Daylight Dimming System and/or Occupancy Controlled Dimming System | $15/fixture | minimum controlled wattage 20W (per fixture) | Ballast or LED drivers must be automatically controlled based on occupancy or daylight levels.
National Grid - Rhode Island | Northeast | RI | Interior Integral Fixture Mounted Dual Sensors | $20/fixture | minimum controlled wattage 20W (per fixture) | Integral fixture mounted dual sensors with motion and photocell/ambient light sensors. System to control motion response and illumination levels. Only one incentive per fixture.
National Grid - Rhode Island | Northeast | RI | Integral Fixture Mounted Dual Sensors and Network-Capable Controls | $30/fixture | minimum controlled wattage 50W | Integral, fixture-mounted, addressable sensors with motion and photocell/ambient light-sensing capabilities along with embedded programming that can be configured and networked. System to control motion response, illumination levels, and scheduling. Must document that the fixtures have been tuned and commissioned after installation. Only one incentive per fixture. See the CALC Specification and QPL for specific requirements: https://www.designlights.org/lighting-controls/
National Grid - Rhode Island | Northeast | RI | Wall Mounted Occupancy Sensors | $20/sensor | minimum controlled wattage 20W | Occupancy Sensors must operate as Automatic On and Off. Sensors are wall mounted devices only. Vacancy Sensors with Manual ON/OFF options are allowed, however, manual ON overrides are not permitted.
National Grid - Rhode Island | Northeast | RI | Photocell Sensors (exterior lighting systems on 24/7) | $25/sensor | minimum controlled wattage 50W | Photocell Sensor or Hard-Wired Astronomical Timer controlled for lighting systems that operate on 24 hours a day, 7 days a week (8,760 hours annually).
National Grid - Rhode Island | Northeast | RI | Outdoor Integral Fixture Mounted Programmable Controller | $50/fixture | minimum controlled wattage 100W | Outdoor integral controller (may be NEMA mounted). Controller to be programmable and able to report, monitor, schedule, and control lamp/driver illumination levels. Communication capable between fixtures and a centralized network. System would allow network communication to receive and transmit data for configuring groups, addressability, reporting and advanced scheduling. Only one incentive per networked fixture.
National Grid - Rhode Island | Northeast | RI | Integral Occupancy Sensor for High Bay Fixtures | $25/fixture | minimum controlled wattage 50W (per fixture) | Fluorescent ballasts of LED drivers must be automatically controlled based on occupancy. Systems with manual “ON” or override switches are not eligible. Occupancy sensors must be integral to (built into) or permanently attached to each fixture.
National Grid - Upstate New York | Northeast | NY | Remote Mounted Occupancy Sensor | $20/unit |  | Remote mounted control. Comply with manufacturer coverage recommendations. Manual "ON" overrides are not eligible.
National Grid - Upstate New York | Northeast | NY | Daylight and/or Occupancy Dimming System | $15/controlled fixture |  | Ballast or LED drivers must be automatically controlled based on occupancy or daylight levels.
National Grid - Upstate New York | Northeast | NY | Luminaire Level Lighting Control (LLLC, Integrated) | $25/controlled fixture |  | Integral luminaie or retrofit-kit mounted or embedded networked control are required to be listed on Designlights Consortium Qualified Products List as an LLLC. Control must be addressable, have occupancy sensor and ambient light sensor, and components must have control persistence capabilities.
National Grid - Upstate New York | Northeast | NY | Wall Mounted Occupancy Sensor | $10/unit |  | Occupancy sensor must operate as Automatic On and Off. Sensors must be wall mounted devices only. Vacancy sensors with Manual On, Automatic Off options are allowed. Manual "ON" overrides are not eligible.
National Grid - Upstate New York | Northeast | NY | Photocell Snesor - lighting applications operating 24/7 | $15/unit |  | Photocell sensor or hard-wired astronomical timer controller for lighting systems that operate 24 hours per day, 7 days per week (8,7600 annual hours)
National Grid - Upstate New York | Northeast | NY | Occupancy Sensor for High Bay Fixtures | $20/controlled fixture |  | Ballasts or LED driver must be automatically controlled based on occupancy. Sensors must be integral or permanently attached to each fixture. Manual "ON" or overrides are not eligible.
New Hampshire Electric Co-Op | Northeast | NH | LED Stairwell Fixture with integral Occupancy sensor controls | $45/fixture |  | To be eligible for incentives, fixtures must be installed in an 8,760 hour stairwell application with integral occupancy sensor control, setting lights to 50% or less output in control mode (not occupied). Not eligible for additional control incentive. Fixtures are required to be listed by Design Lights Consortium (for more information see www.designlights.org)
New Hampshire Electric Co-Op | Northeast | NH | Remote Mounted Occupancy Sensor | $50/control | minimum controlled wattage 90W (total) | • Only for customers under 5000 sq-ft. • Comply with manufacturer’s coverage recommendations. • No manual “ON” overrides.
New Hampshire Electric Co-Op | Northeast | NH | Wall mounted Occupancy/Vacancy Sensors | $20/control | minimum controlled wattage 45W (total) | • Only for customers under 5000 sq-ft. • Occupancy Sensors must operate as Automatic On, and Automatic Off or Manual On and Off. Sensors are wall mounted devices only. • Not recommended in multi stall restrooms, locker rooms, stairwells or rooms of greater than 250 square feet.
New Hampshire Electric Co-Op | Northeast | NH | Daylight Dimming System and/or Occupancy Controlled Step-Dimming System | $20/control | minimum controlled wattage 45W (per fixture) | • Only for customers under 5000 sq-ft. • Daylight: Must have continuous dimming or adjust to a minimum of 4 levels. • Step-Dimming: LED’s must be automatically controlled based on occupancy. • Power consumption in low mode must not exceed 60%
New Hampshire Electric Co-Op | Northeast | NH | Integral High Bay Fixture Occupancy Control Systems | $20/fixture | minimum controlled wattage 45W (per fixture) | • Only for customers under 5000 sq-ft. • LED’s must be automatically controlled based on occupancy. • Systems with manual “ON” or override switches are not eligible. • Occupancy sensors are integral (built into) or permanently attached to each fixture.
New Hampshire Electric Co-Op | Northeast | NH | Stairwell Fixture with integral Occupancy Sensor Controls | 80 | minimum watts saved 27W | To be eligible for incentives, fixtures must operate in a stairwell 8,760 hours annually and feature integral occupancy sensor control, setting lights to 50% output or less in un-occupied mode.
New Hampshire Electric Co-Op | Northeast | NH | Remote Mounted Occupancy Sensor | $50/control | minimum controlled wattage 90W (total) | • Comply with manufacturer’s coverage recommendations. • No manual “ON” overrides.
New Hampshire Electric Co-Op | Northeast | NH | Wall Mounted Occupancy/Vacancy Sensors | $20/control | minimum controlled wattage 45W (total) | • Occupancy sensors must operate as automatic on and automatic off or manual on and off. • Sensors are wall mounted devices only. • Not recommended in multi stall restrooms, locker rooms, stairwells or rooms of greater than 250 square feet.
New Hampshire Electric Co-Op | Northeast | NH | Daylight Dimming System and/or Occupancy Controlled Step-Dimming System | $20/fixture | minimum controlled wattage 45W (per fixture) | Daylight: • Must have continuous dimming or adjust to a minimum of 4 levels. • Typical lamping is either a 28- or 32-watt T8 lamps. Step-Dimming: • Ballast must be automatically controlled based on occupancy. • Power consumption in low mode must not exceed 60%.
New Hampshire Electric Co-Op | Northeast | NH | Photocell Sensors | $20/control | minimum controlled wattage 30W (total) | Photocell sensor for exterior lighting systems, or lighting circuit, that would otherwise operate on 24 hours a day, 7 days a week (8,760 hours annually).
NJ Clean Energy | Mid-Atlantic | NJ | Occupancy Sensor Wall Mounted (existing facilities only) | $20/control |  | • Incentive is available for existing buildings only. New construction projects are not eligible. • Incentive is not available in the following specific locations, in all cases: restrooms, elevators, and closets/storage areas. • OSW sensors must each control at least two eligible fixtures meeting the NJCEP Prescriptive Lighting Program requirements.
NJ Clean Energy | Mid-Atlantic | NJ | Occupancy Sensor Remote Mounted (existing facilities only) | $35/control | minimum connected load of >60W | • Incentive is available for existing buildiungs only. New construction projects are not eligible. • OSRH sensors must each control at least one eligible fixture meeting the NJCEP Presecriptive Lighting Program requirements. • OSR sensors must each control at least two eligble lighting fixtures meeting the NJCEP Prescriptive Lighting Program requirements. • Incentive is not available in the following specific locations, in all cases: elevators, and closets/storage ares.
NJ Clean Energy | Mid-Atlantic | NJ | Occupancy Sensor fixture Mounted High-Bay (Exisitng facilities only) | $35/control | minimum connected load of >90W
NJ Clean Energy | Mid-Atlantic | NJ | Occupancy-Based High-Low Dimming Control | $35/fixture controlled | minimum connected load of >60W | • Incentives will not be paid for ligh-low controls on eligible fixtures where daylight dimming controls can be effectively employed. • Incentives will not be paid for spaces smaller than 250 sq ft • Incentives available only when "low level" is no more than 60% of "high level" • Incentives are not available for the following spaces, in all cases: elevators, or lobbies. • OHLC sensors must each control eligble lighting fixtures meeting NJCEP Prescritive Lighting Program requirements.
NJ Clean Energy | Mid-Atlantic | NJ | Daylight Dimming Controls | $45/fixture controlled | minimum connected load of >120W | • DDC sensors must each control at least four eligible lighting fixtures meeting NJCEP Prescriptive Lighting requirements. • Dimming shall be continuous or stepped at four or more levels. • Incentives will be paid only for eligible daylight dimming control systems designed in accordance with IESNA practive as delineated in "RP-5-99", IESNA Recommended Practive of Daylighting"
NorthWestern Energy | Northwest (excl.WA) | MT | Switch Mounted Occupancy Sensor Controlling > 300W | $10/unit | must control 300W or more | • Switch mounted sensors only. • Connected load based on controlled wattage of installed measure.
Pacific Power | Washington | WA | Interior Lighting: Controls-only Retrofit | $0.20/kWh |  | Controls-only upgrade to advanced networked lighting controls
Pacific Power | Washington | WA | Interior Lighting: Controls-only Retrofit | $0.15/kWh |  | Controls-only upgrade to basic controls
Pacific Power | Washington | WA | Exterior Lighting: Controls-only Retrofit | $0.07/kWh |  | Controls-only upgrade to advanced dimming controls
Pacific Power | Washington | WA | Non-general Illuminance: Refrigerated case occupancy sensor | $1.25/linear foot |  | Installed in existing refrigerated case with LED lighting
Pacific Power | Washington | WA | Interior Lighting: Advanced networked lighting controls | $1/W controlled |  | • Product must be listed on qualified equipment list. • Products must be installed in building where energy code applies.
Pacific Power | Washington | WA | Exterior Lighting: Advanced networked lighting controls | $0.40/W controlled |  | Product does not need to be listed on qualified equipment list.
PECO | Mid - Atlantic | PA | Interior Lighting: Controls Combination— Daylighting and Occupancy Fixture Mounted | $10/sensor
PECO | Mid - Atlantic | PA | Interior Lighting: Advanced Lighting Controls | $0.10/kWh saved
PECO | Mid - Atlantic | PA | Interior Lighting: Unitary Sensor Controls | $10/sensor
PNM | Southwest | NM | New Construction Daylighting Controls | $0.06/W |  | • Dimmging can be continuous or stepped at four or more levels (including on/off) • Applicant must provide a room-by-room or fixture-by-fixture spreadsheet indicating which fixtures and their associated wattages are controlled. • Systems that allow on/off overrides are not eligible • Occupancy sensors, where required by code, are not eligible in the New Construction Application.
PNM | Southwest | NM | Retrofit Daylighting Control Sensors | $0.09/W Controlled
PNM | Southwest | NM | Retrofit Occupancy Sensors | $0.15/W Controlled
PSEG - LI | Mid - Atlantic | NY | Wall Switch Mounted Occupancy Sensor | 10
PSEG - LI | Mid - Atlantic | NY | Remote / Ceiling Mounted Occupancy Sensor | 20
PSEG - LI | Mid - Atlantic | NY | Fixture Mounted Occupancy Sensor | 20
PSEG - LI | Mid - Atlantic | NY | Day lighting Controlled Dimming | 25
PSEG - LI | Mid - Atlantic | NY | Occupancy Controlled Hi-Low Switching | 25
PSEG - LI | Mid - Atlantic | NY | Fixture mounted daylight sensor | 20
Puget Sound Energy | Washington | WA | Fixtures with controls | $0.35 per kWh of projected annual energy savings |  | Max incentive 70 percent of total project cost
Puget Sound Energy | Washington | WA | Interior LLLC3 fixtures and their installation | $75 bonus per fixture in addition to the $0.35 per of projected fixture annual energy savings |  | Max incentive 70 percent of total project cost
Salt River Project | Southwest | AZ | Lighting controls (interior only) | up to $0.40 per watt controlled
Seattle City Light | Washington | WA | Standard controls (including non-QPL networked lighting controls) | $0.15/kWh Small Commercial Incentive: $0.18/kWh
Seattle City Light | Washington | WA | QPL networked lighting controls (LLLC and non-LLLC) | $50/fixture
SMECO | Mid - Atlantic | MD | Networked lighting control w/ local or cloud server required | $50/fixture | minimum watts controlled 20W | • Wall/SurfaceMounted Control Incentive Cap $100 • Ceiling/wall-mounted sensors able to be programmed, configured, networked, and addressable. • Minimum of two different control strategies must be enacted (e.g., motion and daylighting).
SMECO | Mid - Atlantic | MD | Networked lighting control w/ local or cloud server required—lower wattage fixtures/ downlights | $10/fixture | N/A | • Wall/SurfaceMounted Control Incentive Cap $100 • Integral fixture-mounted sensors able to be programmed, configured, networked, and addressable. • Minimum of two different control strategies must be enacted (e.g., motion and daylighting).
SMECO | Mid - Atlantic | MD | Networked lighting control (no server required) | $40/fixture | minimum watts controlled 20W | Wall/SurfaceMounted Control Incentive Cap $80
SMECO | Mid - Atlantic | MD | Networked lighting control (no server required)—lower wattage fixtures/ downlights | $8/fixture | N/A | Wall/SurfaceMounted Control Incentive Cap $80
SMECO | Mid - Atlantic | MD | Dual daylight & occupancy sensor (DOS) | $25/fixture | minimum watts controlled 20W | • Wall/SurfaceMounted Control Incentive Cap $60 • Both daylighting and occupancy controls must be installed and operate in unison. • Fixtures must be located within the daylighting zone.
SMECO | Mid - Atlantic | MD | Dual daylight & occupancy sensor (DOS)—lower wattage fixtures/downlights | $6/fixture | N/A | • Wall/SurfaceMounted Control Incentive Cap $60 • Controls must be attached to fixtures. • Both daylighting and occupancy controls must be installed and operate in unison. • Fixtures must be located within the daylighting zone
SMECO | Mid - Atlantic | MD | Daylight continuous dimming control | $20/fixture | minimum watts controlled 20W | • Wall/SurfaceMounted Control Incentive Cap $40 • Control must continuously dim fixtures located in a daylight zone (see General Control Requirements) in response to LC 122 ambient daylight.
SMECO | Mid - Atlantic | MD | Daylight continuous dimming control— lower wattage fixtures/downlights | $4/fixture | N/A
SMECO | Mid - Atlantic | MD | Vacancy control | $15/fixture | minimum watts controlled 20W | • Wall/SurfaceMounted Control Incentive Cap $40 • Control must be set to “Manual ON” so fixtures controlled require a person to manually turn them on. • The control must automatically turn off light fixtures after LC 132 preset time has elapsed where no occupancy is detected
SMECO | Mid - Atlantic | MD | Vacancy control— lower wattage fixtures/downlights | $4/fixture | N/A
SMECO | Mid - Atlantic | MD | Occupancy control | $10/fixture | minimum watts controlled 20W | • Wall/SurfaceMounted Control Incentive Cap $30 • Control must automatically turn fixtures on and off based on occupancy.
SMECO | Mid - Atlantic | MD | Occupancy control— lower wattage fixtures/downlights | $3/fixture | N/A
SMMPA | Midwest | MN | Wall Mount Occupancy Sensor | Retrofit: $12/unit
SMMPA | Midwest | MN | Ceiling Mount Occupancy Sensor | Retrofit: $36/unit
SMMPA | Midwest | MN | LED or Fluorescent Lamp or Fixture ≥15W with Integrated Occupancy Sensor | Retrofit: $5/unit NewContruction: $5/unit
SMMPA | Midwest | MN | LED or Fluorescent Lamp or Fixture ≥50W with Integrated Occupancy Sensor | Retrofit: $10/unit NewContruction: $10/unit
SMMPA | Midwest | MN | LED or Fluorescent Lamp or Fixture ≥100W with Integrated Occupancy Sensor | Retrofit: $15/unit NewContruction: $15/unit
SMMPA | Midwest | MN | Photocell | Retrofit: $12/unit NewContruction: $6/unit
SMUD | Southwest | CA | LED Lighting & Controls | $0.10/kWh annual energy reduction |  | • New interior and exterior lighting and controls • Lighting and controls retrofits • Daylighting systems and dimmable fixtures • All fixtures must be listed on the Design Lights Consortium's Qualified Products list at designlights.org • Total incentive limited to up to 50% of project cost or $150,000, whichever is less
Snohomish PUD | Washington | WA | Contact utility for more information |  |  | • All projects must be pre-approved. • All Networked Lighting Controls require a description of the proposed controls strategy (e.g., 25% dimming to start, 50% exterior dimming between 1 and 4 a.m., etc.) • Incentives may not exceed 100% of total project costs. • Incentive rates and programs may change without notice. Funding is limited.
Southern California Edison (SCE) | Southwest | CA | Optimize lighting occupancy sensors - retrocommissioning | $0.06/kWh + $150/kW
Southern California Edison (SCE) | Southwest | CA | Optimize daylighting controls - retrocommissioning | $0.06/kWh + $150/kW
Tacoma Power | Washington | WA | 40% w/Networked Cont | $60/fixture | watt baseline: ≤100 required wattage reduction: ≥40% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 50% w/Networked Cont | $70/fixture | watt baseline: ≤100 required wattage reduction: ≥50% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 60% w/Networked Cont | $80/fixture | watt baseline: ≤100 required wattage reduction: ≥60% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 70% w/Networked Cont | $90/fixture | watt baseline: ≤100 required wattage reduction: ≥70% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 40% w/Networked Cont | $80/fixture | watt baseline: 101-200 required wattage reduction: ≥40% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 50% w/Networked Cont | 100/fixture | watt baseline: 101-200 required wattage reduction: ≥50% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 60% w/Networked Cont | 120/fixture | watt baseline: 101-200 required wattage reduction: ≥60% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 70% w/Networked Cont | 140/fixture | watt baseline: 101-200 required wattage reduction: ≥70% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 40% w/Networked Cont | 130/fixture | watt baseline: ≥201 required wattage reduction: ≥40% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 50% w/Networked Cont | 160/fixture | watt baseline: ≥201 required wattage reduction: ≥50% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 60% w/Networked Cont | 180/fixture | watt baseline: ≥201 required wattage reduction: ≥60% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 70% w/Networked Cont | $200/fixture | watt baseline: ≥201 required wattage reduction: ≥70% | General Indoor / Outdoor with Networked Lighting Controls
Tacoma Power | Washington | WA | 40% w/Networked Cont | $140/fixture | watt baseline: 140-299 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 60% w/Networked Cont | $200/fixture | watt baseline: 140-299 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 70% w/Networked Cont | $260/fixture | watt baseline: 140-299 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 40% w/Networked Cont | $160/fixture | watt baseline: 300-399 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 60% w/Networked Cont | $240/fixture | watt baseline: 300-399 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 70% w/Networked Cont | $360/fixture | watt baseline: 300-399 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 40% w/Networked Cont | $200/fixture | watt baseline: 400-499 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 60% w/Networked Cont | $300/fixture | watt baseline: 400-499 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 70% w/Networked Cont | $420/fixture | watt baseline: 400-499 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 40% w/Networked Cont | $350/fixture | watt baseline: ≥500 required wattage reduction: ≥40% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 60% w/Networked Cont | $500/fixture | watt baseline: ≥500 required wattage reduction: ≥60% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | 70% w/Networked Cont | $600/fixture | watt baseline: ≥500 required wattage reduction: ≥70% | LED High Bay-Interior with Networked Lighting Controls
Tacoma Power | Washington | WA | Occupancy Sensor | $10/control | wattage range 15-44W
Tacoma Power | Washington | WA |  | $30/control | wattage range 45-200W
Tacoma Power | Washington | WA |  | $50/control | wattage range ≥201W
Tacoma Power | Washington | WA | Mutli Function | $15/control | wattage range 15-44W
Tacoma Power | Washington | WA |  | $40/control | wattage range 45-200W
Tacoma Power | Washington | WA |  | $50/control | wattage range ≥201W
Tacoma Power | Washington | WA | Other | $10/control | wattage range 15-44W
Tacoma Power | Washington | WA |  | $30/control | wattage range 45-200W
Tacoma Power | Washington | WA |  | $40/control | wattage range ≥201W
TVA | Southeast | TN | Contact utility for more information
United Illuminating UI | Northeast | CT | Ceiling Mounted Occupancy Sensors | 20 | minimum watts controlled 100W | Ceiling mounted control with no manual “ON” overrides. Comply with manufacturer’s coverage recommendations and all applicable codes.
United Illuminating UI | Northeast | CT | Wall Mounted Occupancy Sensors | 20 | minimum watts controlled 50W | • Occupancy Sensors must operate as Automatic ON and OFF. • Sensors are wall-mounted devices only. Comply with manufacturer’s coverage recommendations and all applicable codes.
United Illuminating UI | Northeast | CT | Wall Mounted Vacancy Occupancy Sensors | 20 | minimum watts controlled 50W | • Vacancy Sensors must operate as Manual ON, Automatic OFF. • Sensors are wall-mounted devices only. Comply with manufacturer’s coverage recommendations and all applicable codes.
United Illuminating UI | Northeast | CT | 2x4 Fixture Standard w/Controls | 60
United Illuminating UI | Northeast | CT | 2x4 Fixture Premium w/Controls | 70
United Illuminating UI | Northeast | CT | 2x2 Fixture Standard w/Controls | 50
United Illuminating UI | Northeast | CT | 2x2 Fixture Premium w/Controls | 55
United Illuminating UI | Northeast | CT | 1x4 Fixture Standard w/Controls | 55
United Illuminating UI | Northeast | CT | 1x4 Fixture Premium w/Controls | 60
Unitil MA | Northeast | MA | Remote Mounted Occupancy Sensor | $30/control | minimum controlled wattage 40W | Lighting Sensors & Controls – New Construction/Retrofit
Unitil MA | Northeast | MA | Daylight Dimming System and/or Occupancy Controlled Dimming System | $15/fixture | minimum controlled wattage 20W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
Unitil MA | Northeast | MA | Interior Integral Fixture Mounted Dual Sensor | $20/fixture | minimum controlled wattage 20W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
Unitil MA | Northeast | MA | Integral Fixture Mounted Dual Sensors and Network-capable Controls | $30/fixture | minimum controlled wattage 50W | Lighting Sensors & Controls – New Construction/Retrofit
Unitil MA | Northeast | MA | Wall Mounted Occupancy Sensor | $20/control | minimum controlled wattage 20W | Lighting Sensors & Controls – New Construction/Retrofit
Unitil MA | Northeast | MA | Photocell Sensors (24/7 exterior systems) | $25/control | minimum controlled wattage 50W | Lighting Sensors & Controls – New Construction/Retrofit
Unitil MA | Northeast | MA | Outdoor Integral Fixture Mounted Programmable Controller | $50/fixture | minimum controlled wattage 100W | Lighting Sensors & Controls – New Construction/Retrofit
Unitil MA | Northeast | MA | Integral Occupancy Sensor for High Bay Fixtures | $25/fixture | minimum controlled wattage 50W/fixture | Lighting Sensors & Controls – New Construction/Retrofit
Unitil MA | Northeast | MA | Code level Controls | Interior: $1.50/Watt Saved Exterior: $1.50/Watt Saved |  | Performance Lighting – New Construction/Retrofit
Unitil MA | Northeast | MA | Integral Controls | Interior: $2.00/Watt Saved Exterior: $2.00/Watt Saved |  | Performance Lighting – New Construction/Retrofit
Unitil MA | Northeast | MA | Network Controls & M&V | Interior: $3.00/Watt Saved Exterior: $3.00/Watt Saved |  | Performance Lighting – New Construction/Retrofit
Unitil NH | Northeast | NH | Remote Mounted Occupancy Sensor | $50/control | minimum controlled watts 90W (total) | Comply with manufacturer’s coverage recommendations. No manual “ON” overrides.
Unitil NH | Northeast | NH | Wall mounted Occupancy/Vacancy Sensors | $20/control | minimum controlled watts 45W (total) | • Occupancy Sensors must operate as Automatic On, and Automatic Off or Manual On and Off. • Sensors are wall mounted devices only. • Not recommended in multi stall restrooms, locker rooms, stairwells or rooms of greater than 250 square feet
Unitil NH | Northeast | NH | Daylight Dimming System and/or Occupancy Controlled Step-Dimming System | $20/fixture | minimum controlled watts 45W (per fixture) | Daylight: • Must have continuous dimming or adjust to a minimum of 4 levels. • Typical lamping is either a 28 or 32 watt T8 lamps. Step-Dimming: • Ballast must be automatically controlled based on occupancy. • Power consumption in low mode must not exceed 60%.
Unitil NH | Northeast | NH | Integral High Bay Fixture Occupancy Control Systems | $20/fixture | minimum controlled watts 45W (per fixture) | • Fluorescent Ballast or LED Drivers must be automatically controlled based on occupancy. • Systems with manual “ON” or override switches are not eligible. • Occupancy sensors are integral (built into) or permanently attached to each fixture.
Unitil NH | Northeast | NH | Photocell Sensors | $20/control | minimum controlled wattage 30W (total) | Photocell sensor for exterior lighting systems, or lighting circuit, that would otherwise operate on 24 operate on 24 hours a day, 7 days a week (8,760 hours annually)
WI Focus on Energy | Midwest | WI | Fixture or Retrofit Kit/Lamp with Connected Controls, Interior | $0.45/W Reduced
WI Focus on Energy | Midwest | WI | Fixture or Retrofit Kit/Lamp with Connected Controls, Exterior | $0.50/W Reduced
WI Focus on Energy | Midwest | WI | Daylighting Controls | $0.05/W controlled
WI Focus on Energy | Midwest | WI | On/Off Occupancy Control | $0.05/W controlled
WI Focus on Energy | Midwest | WI | Bi-Level Occupancy Control | $0.05/W controlled
WI Focus on Energy | Midwest | WI | Non-High Bay Occupancy/Vacancy Sensor | $0.05/W controlled
WI Focus on Energy | Midwest | WI | Bi-Level Controls, Parking Garage Lighting, Dusk to Dawn | $0.05/W controlled
WI Focus on Energy | Midwest | WI | Bi-Level Controls, Parking Garage Lighting, 24 Hour | $0.05/W controlled
Xcel Energy (Colorado) | Southwest | CO | Occupancy Sensor | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (Colorado) | Southwest | CO | Daylighting (photocell) sensor | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (Colorado) | Southwest | CO | Occupancy and daylighting (photocell) sensor | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (Colorado) | Southwest | CO | Networked lighting controls | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (Minnesota) | Midwest | MN | Occupancy Sensor | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (Minnesota) | Midwest | MN | Daylighting (photocell) sensor | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (Minnesota) | Midwest | MN | Occupancy and daylighting (photocell) sensor | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (Minnesota) | Midwest | MN | Networked lighting controls | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (New Mexico) | Southwest | NM | Occupancy Sensor | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (New Mexico) | Southwest | NM | Daylighting (photocell) sensor | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (New Mexico) | Southwest | NM | Occupancy and daylighting (photocell) sensor | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details
Xcel Energy (New Mexico) | Southwest | NM | Networked lighting controls | $/kW saved (contact utility for more detail) |  | See rebate application for qualifying details